[image: image1.png]



[image: image3.png]PRIMESTAR




[image: image3.png]

 1U Fiber Panel, 12 Core LC SM coupler 
 

Fiber management systems consist of rack and wall mount fiber distribution panels, compact module system and light guide interface unit where all of which provide protection, flexibility and control for optical fiber cabling systems by helping to organize cabling closets, simplify adds, move or change and provide optical fiber interface in any location.
Features:

      [image: image4.png]



Remark->

1, Fiber adapter 2, Snaping fastener 3, slide rail 4, fastener nut 5, Wire Saddle 6 Cable grip

	Structure and Technical Specifications
	Y/N
	
	Remark

	Size equipment rack Fiber panel
	
	
	1U/230/465mm

	Color
	
	
	Black/ grey

	LC Adapter Plate, BLUE


	Y
	
	Optional- Various Fiber Port SC/LC/E2000/ST/FC

	Cable Management 
	Y
	
	PVC 

	Front and rear doors with clip
	Y
	
	Optional 

	Drawer type 
	Y
	
	

	Max splice capacity
	
	
	24port ( splice tray)

	Product years warranty
	
	
	3year above


Product codes – ordering information

ETL-Optical Distribution Frame-1U- No core- type adaptor port
Model : PRS- ODF-1U-12C-LC
Additional Product Information:  

The 1U-19 “Rack Mount Patch Panel extra installation item

splice trays, fiber pigtail, 4 cable glands and splice tray
[image: image2.png]\
/A‘

Splice Tray (S-TR24)

|
|
I ' ‘

Splice Sleeves Cable Glands
(FSLEEVE060) (m20)





Dis By www.etlss.com.my


